## Savings Calc
ΔkWh | = (((Capacity * 0.473) / 24) * Hours) * (1 / (L/kWh_Base) – 1 / (L/kWh_Eff))
Annual kWh
Capacity | Capacity Used | Federal Standard Criteria | ENERGY STAR Criteria | Federal Standard | ENERGY STAR | Savings
(pints/day) Range |  | (≥ L/kWh) | (≥ L/kWh)
≤25 | 20 | 1.35 | 2 | 476.5037 | 321.64 | 154.8637 | Where:
> 25 to ≤35 | 30 | 1.35 | 2 | 714.7556 | 482.46 | 232.2956 | Capacity | = Capacity of the unit (pints/day)
> 35 to ≤45 | 40 | 1.5 | 2 | 857.7067 | 643.28 | 214.4267 | 0.473 | = Constant to convert pints to Liters
> 45 to ≤ 54 | 50 | 1.6 | 2 | 1005.125 | 804.1 | 201.025 | 24 | = Constant to convert Liters/day to Liters/hour
> 54 to ≤ 75 | 65 | 1.7 | 2 | 1229.8 | 1045.33 | 184.47 | Hours | = Run Hours per year
> 75 to ≤ 185 | 130 | 2.5 | 2.8 | 1672.528 | 1493.3286 | 179.1994 |  |  | 1632
Average | 54.2 | 1.6214 | 2 | 1075.2021 | 871.6444 | 203.5577 | L / kWh | = Liters of water per kWh consumed, as provided in tables above
[5 empty] | Capacity | ΔkW
(pints/day) Range
[5 empty] | ≤25 | 0.094892
[5 empty] | > 25 to ≤35 | 0.14234
[5 empty] | > 35 to ≤45 | 0.13139
[5 empty] | > 45 to ≤ 54 | 0.12318
[5 empty] | > 54 to ≤ 75 | 0.11303
[5 empty] | > 75 to ≤ 185 | 0.1098
[5 empty] | Average | 0.12473

## ENERGY STAR QPL 2016
ENERGY STAR Unique ID | ENERGY STAR Partner | Brand Name | Model Name | Model Number | Additional Model Information | Efficiency (Energy Factor) (L/kWh) | Water Removal Capacity (pints/day) | Fan Continuously Operates? | Date Available on Market | Date Qualified | Markets | Water Removal Capacity (pints/day) | Count | %
2282852 | Canadian Tire | Noma | Dehumidifier | 043-5793-0 |  | 2 | 35 | Yes | 2016-10-20 | 2016-10-31 | United States, Canada | ≤25 | 0 | 0%
2282854 | Canadian Tire | Noma | Dehumidifier | 043-5794-8 |  | 2 | 50 | Yes | 2016-10-20 | 2016-10-31 | United States, Canada | > 25 to ≤35 | 22 | 21.36%
2282857 | Canadian Tire | Noma | Dehumidifier | 043-5795-6 | ,043-5796-4, | 2 | 70 | Yes | 2016-10-20 | 2016-10-31 | United States, Canada | > 35 to ≤45 | 10 | 9.709%
2282856 | Canadian Tire | Noma | Dehumidifier | 043-5798-0 |  | 2 | 60 | Yes | 2016-10-20 | 2016-10-31 | United States, Canada | > 45 to ≤ 54 | 24 | 23.3%
2284269 | Cooper&Hunter International Corporation | C&H | Dehumidifier | CH-D95CE9 |  | 2.8 | 95 | Yes | 2016-10-25 | 2016-11-01 | United States | > 54 to ≤ 75 | 42 | 40.78%
2283387 | Danby Products Inc. | Danby | Dehumidifier | DDR030BD* | ,DDR030BB*; DDR030BBC*; DDR030BDC*, | 2 | 30 | Yes | 2016-10-25 | 2016-11-03 | United States, Canada | > 75 to ≤ 185 | 5 | 4.854%
2283386 | Danby Products Inc. | Danby | Dehumidifier | DDR045BD* | ,DDR045BB*; DDR045BBC*; DDR045BDC*, | 2 | 45 | Yes | 2016-10-25 | 2016-11-03 | United States, Canada
2283385 | Danby Products Inc. | Danby | Dehumidifier | DDR050BD* | ,DDR050BB*; DDR050BDC*, | 2 | 50 | Yes | 2016-10-25 | 2016-11-03 | United States, Canada
2284798 | Danby Products Inc. | Danby | Dehumidifier | DDR050BEC* |  | 2 | 50 | Yes | 2016-11-10 | 2016-11-23 | Canada
2283378 | Danby Products Inc. | Danby | Dehumidifier | DDR060BD* | ,DDR060BB*; DDR060BDC*, | 2 | 60 | Yes | 2016-10-25 | 2016-11-03 | United States, Canada
2283375 | Danby Products Inc. | Danby | Dehumidifier | DDR070BDP* | ,DDR070BB*; DDR070BBP*; DDR070BBC*,; ,DDR070BD*; DDR070BDC*, | 2 | 70 | Yes | 2016-10-25 | 2016-11-03 | United States, Canada
2284800 | Danby Products Inc. | Danby | Dehumidifier | DDR070BEC* |  | 2 | 70 | Yes | 2016-11-10 | 2016-11-23 | Canada
2283374 | Danby Products Inc. | Easy Home | Dehumidifier | EDR050BAU* |  | 2 | 50 | Yes | 2016-10-25 | 2016-11-03 | United States, Canada
2281036 | Electrolux Home Products | Frigidaire | Dehumidifier | CAD301NWDA | ,CAD304NWLA, CAD301NWD, CAD304NWL, | 2 | 30 | No | 2016-10-01 | 2016-10-10 | United States, Canada
2281034 | Electrolux Home Products | Frigidaire | Dehumidifier | CAD504DWDA | ,CAD504DWLA, CAD504DWD, CAD504DWL, | 2 | 50 | No | 2016-10-01 | 2016-10-10 | United States, Canada
2281032 | Electrolux Home Products | Frigidaire | Dehumidifier | CAD704DWDA | ,CAD704DWLA, CAD704DWD, CAD704DWL, | 2 | 70 | No | 2016-10-01 | 2016-10-10 | United States, Canada
2281037 | Electrolux Home Products | Frigidaire | Dehumidifier | FAD301NWDA | ,FAD301NWD, | 2 | 30 | No | 2016-10-01 | 2016-10-10 | United States
2281035 | Electrolux Home Products | Frigidaire | Dehumidifier | FAD504DWDA | ,FAD504DWD, | 2 | 50 | No | 2016-10-01 | 2016-10-10 | United States
2281033 | Electrolux Home Products | Frigidaire | Dehumidifier | FAD704DWDA | ,FAD704DWD, | 2 | 70 | No | 2016-10-01 | 2016-10-10 | United States
2284156 | Electrolux Home Products | Frigidaire | FFAD3033R1 | FFAD3033R1 |  | 2 | 30 | No | 2016-11-15 | 2016-10-28 | United States, Canada
2284153 | Electrolux Home Products | Frigidaire | FFAD3033R1A | FFAD3033R1A |  | 2 | 30 | No | 2016-11-15 | 2016-10-28 | United States, Canada
2284159 | Electrolux Home Products | Frigidaire | FFAD30W3S1A | FFAD30W3S1A |  | 2 | 30 | No | 2016-11-15 | 2016-10-28 | United States, Canada
2284157 | Electrolux Home Products | Frigidaire | FFAD5033R1 | FFAD5033R1 |  | 2 | 50 | No | 2016-11-15 | 2016-10-28 | United States, Canada
2284154 | Electrolux Home Products | Frigidaire | FFAD5033R1A | FFAD5033R1A |  | 2 | 50 | No | 2016-11-15 | 2016-10-28 | United States, Canada
2284160 | Electrolux Home Products | Frigidaire | FFAD50W3S1A | FFAD50W3S1A |  | 2 | 50 | No | 2016-11-15 | 2016-10-28 | United States, Canada
2284158 | Electrolux Home Products | Frigidaire | FFAD7033R1 | FFAD7033R1 |  | 2 | 70 | No | 2016-11-15 | 2016-10-28 | United States, Canada
2284155 | Electrolux Home Products | Frigidaire | FFAD7033R1A | FFAD7033R1A |  | 2 | 70 | No | 2016-11-15 | 2016-10-28 | United States, Canada
2284161 | Electrolux Home Products | Frigidaire | FFAD70W3S1A | FFAD70W3S1A |  | 2 | 70 | No | 2016-11-15 | 2016-10-28 | United States, Canada
2282835 | GD MIDEA AIR-CONDITIONING EQUIPMENT CO., LTD. | Midea | Dehumidifier | MDCDP-30AEN1-BB0 | ,MDUDP-30AEN1-BB0, | 2 | 30 | Yes | 2016-10-25 | 2016-10-28 | United States
2282837 | GD MIDEA AIR-CONDITIONING EQUIPMENT CO., LTD. | Midea | Dehumidifier | MDCDP-45AEN1-BB0 | ,MDUDP-45AEN1-BB0, | 2 | 45 | Yes | 2016-10-25 | 2016-10-28 | United States
2282839 | GD MIDEA AIR-CONDITIONING EQUIPMENT CO., LTD. | Midea | Dehumidifier | MDCDP-50AEN1-BB0(A) | ,MDUDP-50AEN1-BB0(A), | 2 | 50 | Yes | 2016-10-25 | 2016-10-28 | United States
2282840 | GD MIDEA AIR-CONDITIONING EQUIPMENT CO., LTD. | Midea | Dehumidifier | MDCDP-50AEN1-BB0B | ,MDCDP-50AEN1-BB0(J1); MDUDP-50AEN1-BB0(J1),; ,MDCDP-50AEN1-BB0; MDUDP-50AEN1-BB0,; ,MDUDP-50AEN1-BB0B, | 2 | 50 | Yes | 2016-10-25 | 2016-10-28 | United States
2282841 | GD MIDEA AIR-CONDITIONING EQUIPMENT CO., LTD. | Midea | Dehumidifier | MDCDP-60AEN1-BB0 | ,MDUDP-60AEN1-BB0, | 2 | 60 | Yes | 2016-10-25 | 2016-10-28 | United States
2282842 | GD MIDEA AIR-CONDITIONING EQUIPMENT CO., LTD. | Midea | Dehumidifier | MDCDP-70AEN1-BB0B | ,MDCDP-70AEN1-BB0; MDUDP-70AEN1-BB0,; ,MDUDP-70AEN1-BB0B, | 2 | 70 | Yes | 2016-10-25 | 2016-10-28 | United States
2282845 | GD MIDEA AIR-CONDITIONING EQUIPMENT CO., LTD. | Midea | Dehumidifier | MDCK-30AEN1-BB0 | ,MDUK-30AEN1-BB0, | 2 | 30 | Yes | 2016-10-25 | 2016-10-28 | United States
2282848 | GD MIDEA AIR-CONDITIONING EQUIPMENT CO., LTD. | Midea | Dehumidifier | MDCK-40AEN1-BB0 | ,MDUK-40AEN1-BB0, | 2 | 40 | Yes | 2016-10-25 | 2016-10-28 | United States
2282850 | GD MIDEA AIR-CONDITIONING EQUIPMENT CO., LTD. | Midea | Dehumidifier | MDCK-45AEN1-BB0 | ,MDUK-45AEN1-BB0, | 2 | 45 | Yes | 2016-10-25 | 2016-10-28 | United States
2283510 | Midea America(Canada)Corp. | Comfee | Dehumidifiers | M50DK |  | 2 | 50 | Yes | 2016-11-06 | 2016-11-06 | United States, Canada
2283508 | Midea America(Canada)Corp. | Comfee | Dehumidifiers | M70DK |  | 2 | 70 | Yes | 2016-11-06 | 2016-11-06 | United States, Canada
2282849 | Midea USA Inc. | Arctic King | Dehumidifier | MDCK-45AEN1-BB0 |  | 2 | 45 | Yes | 2016-10-25 | 2016-11-01 | United States, Canada
2282846 | Midea USA Inc. | Comfee | Dehumidifier | WCDK30B0 |  | 2 | 30 | Yes | 2016-10-25 | 2016-10-28 | United States, Canada
2282851 | Midea USA Inc. | Comfee | Dehumidifier | WCDK45B0 |  | 2 | 45 | Yes | 2016-10-25 | 2016-10-28 | United States, Canada
2282829 | Midea USA Inc. | Comfee | Dehumidifier | WCDK60B0 |  | 2 | 60 | Yes | 2016-10-25 | 2016-10-28 | United States, Canada
2282847 | Midea USA Inc. | Midea | Dehumidifier | WDK30AE7N |  | 2 | 30 | Yes | 2016-10-25 | 2016-11-01 | United States
2282827 | Midea USA Inc. | Midea | Dehumidifier | WDK50AE7N |  | 2 | 50 | Yes | 2016-10-25 | 2016-11-01 | United States
2282844 | Midea USA Inc. | Midea | Dehumidifier | WDP70AE7N |  | 2 | 70 | Yes | 2016-10-25 | 2016-11-01 | United States
2284394 | Perfect Aire, LLC | Perfect aire | Dehumidifier | 1PEDP50 | ,1PED50, | 2 | 50 | Yes | 2016-11-10 | 2016-11-17 | United States, Canada
2284393 | Perfect Aire, LLC | Perfect aire | Dehumidifier | 1PEDP70 | ,1PED70, | 2 | 70 | Yes | 2016-11-10 | 2016-11-17 | United States, Canada
2284794 | Perfect Aire, LLC | Perfect aire | Dehumidifiers | 4PAD30 |  | 2 | 30 | Yes | 2016-11-22 | 2016-11-22 | United States, Canada
2284797 | Perfect Aire, LLC | Perfect aire | Dehumidifiers | 4PAD50 |  | 2 | 50 | Yes | 2016-11-22 | 2016-11-22 | United States, Canada
2284799 | Perfect Aire, LLC | Perfect aire | Dehumidifiers | 4PAD70 |  | 2 | 70 | Yes | 2016-11-22 | 2016-11-22 | United States, Canada
2284793 | Perfect Aire, LLC | Perfect aire | Dehumidifiers | 4PAD95 |  | 2.8 | 95 | Yes | 2016-11-22 | 2016-11-22 | United States, Canada
2270694 | Pridiom Group, LLC | PRIDIOM | PGD1080HCW | PGD1080HCW | ,PGD1080HC, | 2 | 70 | Yes | 2016-06-07 | 2016-06-24 | United States
2279045 | Research Products Corporation | Aprilaire | 1830 | 1830 |  | 2 | 70 | Yes | 2013-12-10 | 2016-09-09 | United States, Canada
2283735 | Rich Achiever Limited | AEONAIR | Dehumidifier | RDH60EAW |  | 2 | 60 | Yes | 2016-11-11 | 2016-11-11 | United States, Canada
2281839 | Rich Achiever Limited | Whirlpool | Dehumidifier | WDH70EAPW |  | 2 | 70 | Yes | 2016-10-10 | 2016-10-18 | United States, Canada
2271838 | Seaira Global LLC | SEAIRA | WATCHDOG 550 | WATCHDOG 550 |  | 2.47 | 54.77 | Yes | 2016-08-01 | 2016-07-05 | United States
2271840 | Seaira Global LLC | SEAIRA | WATCHDOG 900 | WATCHDOG 900 |  | 2.87 | 87.07 | Yes | 2016-08-01 | 2016-07-05 | United States
2271842 | Seaira Global LLC | SEAIRA | WATCHDOG 900C | WATCHDOG 900C |  | 2.82 | 86.92 | Yes | 2016-08-01 | 2016-07-05 | United States
2270222 | TCL Air conditioner (Zhong Shan) Co., Ltd. | TCL | DEA 70EP | DEA 70EP | ,DEA 70E, | 2.01 | 70 | Yes | 2016-06-14 | 2016-06-21 | United States
2271839 | Trion brand of Johnson Controls | Trion | ComfortDry CD55 | ComfortDry CD55 |  | 2.47 | 54.77 | Yes | 2016-08-01 | 2016-07-05 | United States
2271841 | Trion brand of Johnson Controls | Trion | ComfortDry CD90 | ComfortDry CD90 |  | 2.87 | 87.07 | Yes | 2016-08-01 | 2016-07-05 | United States
2283674 | True Value Company | Westpointe | Dehumidifiers | MDCDP-30AEN1-BB0 |  | 2 | 30 | Yes | 2016-11-08 | 2016-11-08 | United States, Canada
2283675 | True Value Company | Westpointe | Dehumidifiers | MDCDP-45AEN1-BB0 |  | 2 | 45 | Yes | 2016-11-08 | 2016-11-08 | United States, Canada
2283676 | True Value Company | Westpointe | Dehumidifiers | MDCDP-60AEN1-BB0 |  | 2 | 60 | Yes | 2016-11-08 | 2016-11-08 | United States, Canada
2283677 | True Value Company | Westpointe | Dehumidifiers | MDCDP-70AEN1-BB0B |  | 2 | 70 | Yes | 2016-11-08 | 2016-11-08 | United States, Canada
2282825 | GD MIDEA AIR-CONDITIONING EQUIPMENT CO., LTD. | Midea | Dehumidifier | MDCK-50AEN1-BB0(A) | ,MDUK-50AEN1-BB0(A), | 2 | 50 | Yes | 2016-10-25 | 2016-10-28 | United States
2282826 | GD MIDEA AIR-CONDITIONING EQUIPMENT CO., LTD. | Midea | Dehumidifier | MDCK-50AEN1-BB0B | ,MDCK-50AEN1-BB0; MDUK-50AEN1-BB0,; ,MDUK-50AEN1-BB0B, | 2 | 50 | Yes | 2016-10-25 | 2016-10-28 | United States
2282828 | GD MIDEA AIR-CONDITIONING EQUIPMENT CO., LTD. | Midea | Dehumidifier | MDCK-60AEN1-BB0 | ,MDUK-60AEN1-BB0, | 2 | 60 | Yes | 2016-10-25 | 2016-10-28 | United States
2282830 | GD MIDEA AIR-CONDITIONING EQUIPMENT CO., LTD. | Midea | Dehumidifier | MDCK-70AEN1-BB0B | ,MDCK-70AEN1-BB0; MDUK-70AEN1-BB0,; ,MDUK-70AEN1-BB0B, | 2 | 70 | Yes | 2016-10-25 | 2016-10-28 | United States
2276222 | GE Appliances, a Haier Company | GE | ADEW50LW** | ADEW50LW** | ,ADEL50LW**, | 2 | 50 | Yes | 2016-08-15 | 2016-08-22 | United States
2281448 | GE Appliances, a Haier Company | GE | ADEW70LW** | ADEW70LW** | ,ADEL70LW**,; ,APEH70LW**,; ,APEL70LW**,; ,APER70LW**, | 2 | 72 | Yes | 2016-09-13 | 2016-10-14 | United States
2282154 | Gree Electric Appliances Inc. of Zhuhai | GREE | GDN30AQ-A3EBA1E | GDN30AQ-A3EBA1E |  | 2 | 30 | No | 2016-10-29 | 2016-10-11 | United States, Canada
2284149 | Gree Electric Appliances Inc. of Zhuhai | GREE | GDN30AQ-A3EBA1F | GDN30AQ-A3EBA1F |  | 2 | 30 | No | 2016-11-15 | 2016-10-25 | United States, Canada
2282155 | Gree Electric Appliances Inc. of Zhuhai | GREE | GDN50AP-A3EBA1E | GDN50AP-A3EBA1E |  | 2 | 50 | No | 2016-10-29 | 2016-10-11 | United States, Canada
2284150 | Gree Electric Appliances Inc. of Zhuhai | GREE | GDN50AP-A3EBA1F | GDN50AP-A3EBA1F |  | 2 | 50 | No | 2016-11-15 | 2016-10-25 | United States, Canada
2282156 | Gree Electric Appliances Inc. of Zhuhai | GREE | GDN50BA-A3EBA1A | GDN50BA-A3EBA1A |  | 2 | 50 | No | 2016-10-29 | 2016-10-11 | United States, Canada
2282142 | Gree Electric Appliances Inc. of Zhuhai | GREE | GDN60AN-A3EBD1I | GDN60AN-A3EBD1I |  | 2 | 60 | No | 2016-10-29 | 2016-10-11 | United States, Canada
2284151 | Gree Electric Appliances Inc. of Zhuhai | GREE | GDN70AP-A3EBA1E | GDN70AP-A3EBA1E |  | 2 | 70 | No | 2016-11-15 | 2016-10-25 | United States, Canada
2284152 | Gree Electric Appliances Inc. of Zhuhai | GREE | GDN70AP-A3EBA1F | GDN70AP-A3EBA1F |  | 2 | 70 | No | 2016-11-15 | 2016-10-25 | United States, Canada
2282157 | Gree Electric Appliances Inc. of Zhuhai | GREE | GDN70BA-A3EBA1A | GDN70BA-A3EBA1A |  | 2 | 70 | No | 2016-10-29 | 2016-10-11 | United States, Canada
2282853 | Guangdong Kelon Air Conditioner Co. Ltd. | Hisense | Dehumidifier | DH35K1W |  | 2 | 35 | Yes | 2016-10-20 | 2016-10-31 | United States, Canada
2282855 | Guangdong Kelon Air Conditioner Co. Ltd. | Hisense | Dehumidifier | DH50K1W | ,DH50KP1WG; DH-50K1SFRE; CDH-50K1SFRE, | 2 | 50 | Yes | 2016-10-20 | 2016-10-31 | United States, Canada
2282858 | Guangdong Kelon Air Conditioner Co. Ltd. | Hisense | Dehumidifier | DH70K1G | ,CDH-70K1SFRE; CDH-70KP1SFRE; CDH-70W1SFRE,; ,DH70KP1WG; DH-70K1SFRE; DH-70KP1SFRE; DH-70W1SFRE,; ,DH70W1WG, | 2 | 70 | Yes | 2016-10-20 | 2016-10-31 | United States, Canada
2283373 | Haier America | Haier | Dehumidfier | DE50EM | ,HEH50ET-T; HEH50ET; HEH45ET-L, | 2 | 50 | Yes | 2016-11-30 | 2016-11-03 | United States
2284018 | Haier America | Haier | Dehumidifier | HEN30ET | Dehumidifier,HEN30ET-L, HEN30ET-T, | 2 | 30 | Yes | 2016-11-01 | 2016-11-13 | United States, Canada
2282834 | Haier America | Haier | Dehumidifier | HEN70ETFP | ,HEN70ETFP-E; HEN70ETF; HEN70ET-L, | 2 | 70 | Yes | 2016-10-10 | 2016-10-27 | United States, Canada
2285009 | Home Hardware Stores Ltd | CLASSIC | Dehumidifiers | MDCDP-30AEN1-BB0 |  | 2 | 30 | Yes | 2016-11-29 | 2016-11-29 | United States, Canada
2285008 | Home Hardware Stores Ltd | CLASSIC | Dehumidifiers | MDCDP-45AEN1-BB0 |  | 2 | 45 | Yes | 2016-11-29 | 2016-11-29 | United States, Canada
2285007 | Home Hardware Stores Ltd | CLASSIC | Dehumidifiers | MDCDP-70AEN1-BB0 |  | 2 | 70 | Yes | 2016-11-29 | 2016-11-29 | United States, Canada
2284397 | JC Global Inc. | Ocean Breeze | Dehumidifiers | OBZ-30DHN |  | 2 | 30 | Yes | 2016-11-14 | 2016-11-15 | United States, Canada
2284396 | JC Global Inc. | Ocean Breeze | Dehumidifiers | OBZ-50DHPN |  | 2 | 50 | Yes | 2016-11-14 | 2016-11-15 | United States, Canada
2284395 | JC Global Inc. | Ocean Breeze | Dehumidifiers | OBZ-60DHN |  | 2 | 60 | Yes | 2016-11-14 | 2016-11-15 | United States, Canada
2284795 | Kaz Incorporated | Honeywell | Dehumidifier | HDK030V2 |  | 2 | 30 | Yes | 2016-11-05 | 2016-11-23 | Canada
2284796 | Kaz Incorporated | Honeywell | Dehumidifier | HDK040V2 |  | 2 | 40 | Yes | 2016-11-05 | 2016-11-23 | Canada
2284801 | Kaz Incorporated | Honeywell | Dehumidifier | HDK070V2 |  | 2 | 70 | Yes | 2016-11-05 | 2016-11-23 | Canada
2270696 | LG Electronics, Inc. | LG | UD701KOG2 | UD701KOG2 |  | 2 | 70 | Yes | 2016-06-01 | 2016-06-23 | United States, Canada
2281691 | LG Electronics, Inc. | LG | UD701KOG3 | UD701KOG3 |  | 2 | 70 | Yes | 2016-10-25 | 2016-10-17 | United States, Canada
2283580 | LG Electronics, Inc. | LG | UD701KOG3P | UD701KOG3P |  | 2 | 70 | Yes | 2016-11-01 | 2016-11-07 | United States, Canada
2285163 | Meijer Distribution, Inc. | Polar Wind | Dehumidifier | MDUDP-30AEN1-BB0 |  | 2 | 30 | Yes | 2016-10-25 | 2016-12-01 | United States
2285162 | Meijer Distribution, Inc. | Polar Wind | Dehumidifier | MDUDP-45AEN1-BB0 |  | 2 | 45 | Yes | 2016-10-25 | 2016-12-01 | United States
2285161 | Meijer Distribution, Inc. | Polar Wind | Dehumidifier | MDUDP-70AEN1-BB0B |  | 2 | 70 | Yes | 2016-10-25 | 2016-12-01 | United States
2283509 | Midea America(Canada)Corp. | Comfee | Dehumidifiers | M30DK |  | 2 | 30 | Yes | 2016-11-06 | 2016-11-06 | United States, Canada