## Assumptions
Chapter 49, Service Water Heating, 2007 ASHRAE Handbook, HVAC Applications |  |  |  | Based on CA study -1 | Based on Plumbing code, CA study or estimate -2 |  | Based on CA study -1 |  |  | See-3 | Estimate
| Building Type | Gallons hot water per unit per day | Unit | Estimated % hot water from Faucets | Multiplier | Unit | Days per year | Annual gallons per faucet | kWh using TRM defaults | Annual Recovery Hours | % usage in peak period (1-5) | Hours of Recovery during peak (65 days in summer peak) | CF (260 hours in peak period) | Summer Coincident Peak Demand savings using default TRM assumptions
| Small Office | 1 | person | 100% | 10 | employees per faucet | 250 | 2500 | 43.3333 | 16.1562 | 50% | 1.4386 | 0.005533 | 0.01484
| Large Office | 1 | person | 100% | 45 | employees per faucet | 250 | 11250 | 195 | 72.7031 | 50% | 6.4736 | 0.024898 | 0.066781
| Fast Food Rest | 0.7 | meal/day | 50% | 75 | meals per faucet | 365 | 6562.5 | 113.75 | 42.4102 | 25% | 1.8881 | 0.007262 | 0.019478
| Sit-Down Rest | 2.4 | meal/day | 50% | 36 | meals per faucet | 365 | 10800 | 187.2 | 69.795 | 33.33% | 4.1431 | 0.015935 | 0.04274
| Retail | 2 | employee | 100% | 5 | employees per faucet | 365 | 2500 | 43.3333 | 16.1562 | 33.33% | 0.95905 | 0.0036886 | 0.0098935
| Grocery | 2 | employee | 100% | 5 | employees per faucet | 365 | 2500 | 43.3333 | 16.1562 | 33.33% | 0.95905 | 0.0036886 | 0.0098935
| Warehouse | 2 | employee | 100% | 5 | employees per faucet | 250 | 2500 | 43.3333 | 16.1562 | 50% | 1.4386 | 0.005533 | 0.01484
| Elementary School | 0.6 | person | 50% | 50 | students per faucet | 200 | 3750 | 65 | 24.2344 | 50% | 2.1579 | 0.0082994 | 0.02226
| Jr High/High School | 1.8 | person | 50% | 50 | students per faucet | 200 | 11250 | 195 | 72.7031 | 50% | 6.4736 | 0.024898 | 0.066781
| Health | 90 | patient | 25% | 2 | Patients per faucet | 365 | 11250 | 195 | 72.7031 | 25% | 3.2368 | 0.012449 | 0.03339
| Motel | 20 | room | 25% | 1 | faucet per room | 365 | 1250 | 21.6667 | 8.0781 | 10% | 0.14386 | 0.0005533 | 0.001484
| Hotel | 14 | room | 25% | 1 | faucet per room | 365 | 875 | 15.1667 | 5.6547 | 10% | 0.1007 | 0.00038731 | 0.0010388
| Other | 1 | employee | 100% | 20 | employees per faucet | 250 | 5000 | 86.6667 | 32.3125 | 50% | 2.8771 | 0.011066 | 0.02968
1. Appendix E; “Waste Not, Want Not: The Potential for Urban Water Conservation in California”; http://www.pacinst.org/reports/urban_usage/appendix_e.pdf
2- Based on review of the Illinois plumbing code (Employees and students per faucet). Retail, grocery, warehouse and health are estimates. Meals per faucet estimated as 4 bathroom and 3 kitchen faucets and average meals per day of 250 (based on California study above) – 250/7 = 36. Fast food assumption estimated.
3- 51.7% is the proportion of hot 120F water mixed with 57.9F supply water to give 90F mixed faucet water. 80 is Gallons per hour recovery calculated for 62.1F temp rise (120-57.9), 98% recovery efficiency, and typical 12kW electric resistance storage tank.

## Plumbing Code
# faucets | Mid point # people | People per faucet
1 | 8 | 8
2 | 26 | 13
3 | 48 | 16
4 | 76 | 19
5 | 108 | 21.6
1 | 13 | 13
2 | 38 | 19